	NOTES:
	SYMBOL
	REVISION RECORD
	DATE
	AUTH.

	(1) All dimensions are in millimeters
	A
	Revised notes, added hole size
	6/26/15
	D.B.O.

	(2) Sensitivity: 40 Minutes for each 2 mm
	
	
	
	

	
displacement of the bubble.
	
	
	
	

	
Sensitivity Tolerance: ± 10 Minutes
	
	
	
	


(3) Fluid: Yellow-Green

[image: image1.jpg]35.0
26.2
12.0

60.0





	GEIER & BLUHM, INC.

Division of HJM Precision, Inc.  
9 New Turnpike Road
Troy, New York 12182
U.S.A.
	TOLERANCES:

 ( Except as noted )
XX.   ±  1.0 mm

XX.X   ±  0.25 mm

XX.XX   ±  0.1 mm
	SCALE:  NONE
	DRAWN BY:  David Oster
	DATE: April 17, 2013

	
	
	MATERIAL: 
Case: ABS, Orange

Vial: PMMA
	TUBULAR LEVEL
	DRAWING  NUMBER

	
	
	
	
	4-1506








4 mm Ø


(2 places)














